Design Review Check List for Green Roof

- Applicable codes __________________________________________________________

________________________________________________________________________________________________________________________________________________

- Plans prepared by licensed professional

Landscape Architect [   ]	Botanist [   ]		Structural Engineer [   ]	        Civil Engineer [   ]		Architect [   ]		Other ________________________

  - Is the professional a certified Green Roof Professional (GRP)?       Yes [   ]    No [   ]

  - List any other applicable green roof professional accreditations held by the designers __________________________________________________________

- Submit copy of plans, specifications, and design calculations.

- Priorities for green roof design (e.g. stormwater management, water quality, recreation, energy conservation, roof longevity, habitat, etc) ________________________________________________________________________________________________________________________________________________________________________________________________________________________

- Total roof area __________________________________________SF

- Green roof area _____________________________________________SF

- Growth media depth _________________________________________________ inches

- Growing media composition ________________________________________________

- Storage volume based on media depth __________________________________ inches

- Total storage volume of green roof area _____________________________________CF

- Water Quality Volume Summary

  - WQv required for project site _______________________CF (attach a copy of calculations – see the Uniform Sizing Criteria from part 2b – Uniform Sizing Criteria – in the Iowa Stormwater Management Manual)

  - Anticipated amount of WQv managed by green roof

_______________CF  		______________% of Total Required WQv

  - Discuss additional BMP’s used to manage remaining balance of WQv.

____________________________________________________________________________________________________________________________________

- Discuss water quantity control facilities (stormwater detention) provided on site

________________________________________________________________________

________________________________________________________________________

- Building Details

  - Type of Building:   Industrial [   ] 	Commercial [   ] 	Residential [   ]

  - New construction [   ] 		Retrofit [   ]

  - Height of building ________________feet		_________________stories

  - Roof substructure

Wood [   ]		Metal Sheeting [   ]		Reinforced Concrete[   ]

Other _____________________________________________________________

  - Slope of roof ___________________________________ %

  - Describe roof access _________________________________________________

  - Secondary emergency overflow drains or roof scuppers ____________________

__________________________________________________________________

  - Height of parapet ________________________________________________feet

  - Wind control measures ______________________________________________

__________________________________________________________________

  - Provide calculations or letter certified by licensed structural engineer stating that structural loading analysis was completed and that structure can support the proposed green roof system.

- Site considerations:

  - Has a climate evaluation (e.g. Sun, Wind, Shade, Snow, Precipitation Rate) been completed?  	Yes [   ]		No [   ]

  - Determined Impact on Local Infrastructure (e.g. Stormwater, Energy Consumption)?  Yes [   ] 	No [   ]

  - Evaluation of Waterproofing age and condition (if Retrofit)? Yes [   ] 	No [   ]

  - Analyzed Building Infrastructure (e.g. Location of HVAC Systems, Water Storage/ Supply)? 	Yes [   ] 	No [   ]

  - Determined means of access and occupancy limits (e.g. maintenance and occupants)? 	Yes [   ] 	No [   ]

  - Identified Safety Requirements (i.e. temporary or permanent fall protection measures)? 	Yes [   ] 	No [   ]

  - Sufficient access for HVAC and plumbing equipment?  	Yes [   ] 	No [   ]

  - Does the design include vegetation free zones per local codes? Yes [   ] 	No [   ]

Green Roof System Design

- Green Roof System

- Extensive System (less than 6” growing media) [   ]

- Semi-Intensive System (less than 25% of green roof  over 6” of growing media) [   ]

- Intensive System (more than 6” of growing media [   ]

- Green Roof Construction:

  - Modular tray green roof system [   ]

  - Built-in-place green roof system [   ]

- Type of Roof Assembly:

  - Protected Membrane Roof [   ]

  - Conventional Built-Up Roof [   ]

  - Cold (Vented) Roof [   ]

- Type of roofing membrane proposed:

  - EPDM [   ]

  - Cold fluid applied (water)proofing [   ]

  - Hot applied rubberized asphalt [   ]

  - Modified bitumen [   ]

  - PVC [   ]

  - TPO [   ]

  - Hybrid [   ]

- Components incorporated in green roof design.						      Plant Cover [   ]	Growing Media [   ] 		Filter Fabric [   ]	Drainage Layer [   ]   Root Barrier [   ]	Insulation Layer [   ]		Waterproofing Layer [   ]      Deck Layer [   ]         Wind Protection [   ]         Moisture Retention Layer [   ]    	Membrane Protection [   ] Other ______________________________________________________________________

- Type of irrigation:

  - Overhead [   ]

  - Drip [   ]

  - Harvested alternative building water [   ]

  - Other_____________________________________________________________

- Available water connections and pressure for irrigation ______________________________

___________________________________________________________________________

- Plant selection (submit detailed planting plan) _____________________________________

___________________________________________________________________________

___________________________________________________________________________

- Total saturated system weight _______________________________pounds per square foot

- Designed Dead Load _______________ pounds per square foot

- Designed Live Load ________________  pounds per square foot

Staging, Scheduling, and Construction Logistics

- How will material be conveyed to the roof (roof access points, load bearing points, material storage requirements)

- What is the schedule for installation of plant material (normal planting season, establishment period)?

- How will material be stored and maintained based on the structural capacity of the roof?

- How will the roofing membrane be protected during installation (leak detection)?

- Has the green roof grow-in, establishment, and maintenance periods been established?

FOR REVIEWERS USE ONLY

Design appears to comply with the standards in the Iowa Stormwater Management Manual.

Design does not appear to comply with the standards in the Iowa Stormwater Management Manual.

Comments: _________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name of Reviewer: ____________________________________Date: __________________

Signature: __________________________________________________________________