# Permeable Paver Design Review Check List

Applicant: 		Date:

Submitted By: 		Project Location:

- Drainage Area (DA) shedding to Permeable Pavement (including permeable pavement area)

SF 	and Ac 	(attach map of DA with arrows showing how water flows to the pavers)

- Percent of DA shedding to the Permeable Pavement that is Impervious 	%

- WQv 	 CF (show calculations below or attach)

WQv = (Rv) x (P) x (DA) x 43,560 SF/ac x (1 ft/12in) (See Iowa SW Mgt Manual)

- Ratio of drainage area shedding to the Permeable Pavement to surface of Permeable Pavement area

:

Drainage Area (Sq Ft)	Surface of Permeable Pavement (Sq Ft)

- Surface Area of Permeable Pavement 	 SF (show calculations for minimum area needed App)

𝐴𝐴𝐴𝐴𝐴𝐴 (𝑠𝑠𝑠𝑠 𝑓𝑓𝑓𝑓) =

𝑄𝑄 (𝑐𝑐𝑓𝑓𝑠𝑠)𝑥𝑥 3600 𝑠𝑠𝑠𝑠𝑐𝑐⁄ℎ𝑟𝑟 𝑥𝑥 12 𝑖𝑖𝑖𝑖⁄𝑓𝑓𝑓𝑓

10 𝑖𝑖𝑖𝑖⁄ℎ𝑟𝑟

- Minimum depth of rock storage area 	 Ft (show calculations below or attach)

𝑊𝑊𝑄𝑄𝑊𝑊 (𝑐𝑐𝑀𝑀 𝑓𝑓𝑓𝑓)𝑜𝑜𝑟𝑟 𝑑𝑑𝑠𝑠𝑠𝑠𝑖𝑖𝑑𝑑𝑖𝑖 𝑊𝑊𝑜𝑜𝑣𝑣𝑀𝑀𝑀𝑀𝑠𝑠

𝑀𝑀𝑖𝑖𝑖𝑖𝑖𝑖𝑀𝑀𝑀𝑀𝑀𝑀 𝐷𝐷𝑠𝑠𝐴𝐴𝑓𝑓ℎ =

𝐴𝐴𝐴𝐴𝐴𝐴 𝑥𝑥 0.35

- Pore space storage of rock base: 	 CF

(Length 	 ft x Width 	 ft x Depth 	 ft of rock base x 35%)

- Describe the type of pavement (type of paver, manufacturer, etc.):

- Discuss soils investigation findings (i.e. texture, degree of compaction, percolation potentials, depth to water table, contamination etc.):

- Describe the aggregate used (depth of layer / quantities / size / AASHTO or ASTM No. classification);

a.

b.

c.

- Provide calculations of aggregate quantities or attach a copy of the calculations:

- If permeable pavement is less than 10 ft from a foundation describe water proofing methods:

- What is the maximum slope of the finished surface of the permeable pavement: 	 %

- Is the bottom of the rock base greater than 1.0% slope? 	 If yes, describe how the slope at the bottom of the rock base will be modified to maximize storage (i.e. fabric checks, earth berms, etc. - if fabric checks are used, describe the material and flow through rate)

(Show calculations below or attach for volume of water stored)

𝐷𝐷2

𝑉𝑉 = 50 𝑥𝑥 𝜌𝜌 𝑥𝑥 𝑊𝑊 𝑥𝑥

𝑆𝑆𝑜𝑜

𝑉𝑉 = 𝑉𝑉𝑜𝑜𝑣𝑣𝑀𝑀𝑀𝑀𝑠𝑠 𝑜𝑜𝑓𝑓 𝑤𝑤𝑤𝑤𝑓𝑓𝑠𝑠𝑟𝑟 𝑠𝑠𝑓𝑓𝑜𝑜𝑟𝑟𝑠𝑠𝑑𝑑 𝑀𝑀𝐴𝐴ℎ𝑖𝑖𝑣𝑣𝑣𝑣 𝑜𝑜𝑓𝑓 𝑤𝑤 𝑏𝑏𝑤𝑤𝑓𝑓𝑓𝑓𝑣𝑣𝑠𝑠 𝑜𝑜𝑖𝑖 𝑤𝑤 𝑠𝑠𝑣𝑣𝑜𝑜𝐴𝐴𝑠𝑠𝑑𝑑 𝑠𝑠𝑀𝑀𝑟𝑟𝑓𝑓𝑤𝑤𝑐𝑐𝑠𝑠 (𝑓𝑓𝑓𝑓3)

𝜌𝜌 = 𝐴𝐴𝑜𝑜𝑟𝑟𝑜𝑜𝑠𝑠𝑖𝑖𝑓𝑓𝑝𝑝 𝑜𝑜𝑓𝑓 𝑤𝑤𝑑𝑑𝑑𝑑𝑟𝑟𝑠𝑠𝑑𝑑𝑤𝑤𝑓𝑓𝑠𝑠 (𝑤𝑤𝑠𝑠𝑠𝑠𝑀𝑀𝑀𝑀𝑠𝑠 0.35)

𝑊𝑊 = 𝑤𝑤𝑖𝑖𝑑𝑑𝑓𝑓ℎ 𝑜𝑜𝑓𝑓 𝑓𝑓ℎ𝑠𝑠 𝑤𝑤𝑑𝑑𝑑𝑑𝑟𝑟𝑠𝑠𝑑𝑑𝑤𝑤𝑓𝑓𝑠𝑠 𝐴𝐴𝑠𝑠𝑟𝑟𝐴𝐴𝑠𝑠𝑖𝑖𝑑𝑑𝑖𝑖𝑐𝑐𝑀𝑀𝑣𝑣𝑤𝑤𝑟𝑟 𝑓𝑓𝑜𝑜 𝑓𝑓ℎ𝑠𝑠 𝑠𝑠𝑣𝑣𝑜𝑜𝐴𝐴𝑠𝑠 (𝑓𝑓𝑓𝑓)

𝐷𝐷 = ℎ𝑠𝑠𝑖𝑖𝑑𝑑ℎ𝑓𝑓 𝑜𝑜𝑓𝑓 𝑓𝑓ℎ𝑠𝑠 𝑏𝑏𝑤𝑤𝑓𝑓𝑓𝑓𝑣𝑣𝑠𝑠 (𝑓𝑓𝑓𝑓)

𝑆𝑆𝑜𝑜 = 𝑠𝑠𝑣𝑣𝑜𝑜𝐴𝐴𝑠𝑠 𝑜𝑜𝑓𝑓 𝑓𝑓ℎ𝑠𝑠 𝑠𝑠𝑥𝑥𝑐𝑐𝑤𝑤𝑊𝑊𝑤𝑤𝑓𝑓𝑠𝑠𝑑𝑑 𝑏𝑏𝑜𝑜𝑓𝑓𝑓𝑓𝑜𝑜𝑀𝑀 𝑜𝑜𝑓𝑓 𝑓𝑓ℎ𝑠𝑠 𝑤𝑤𝑑𝑑𝑑𝑑𝑟𝑟𝑠𝑠𝑑𝑑𝑤𝑤𝑓𝑓𝑠𝑠 𝑐𝑐ℎ𝑤𝑤𝑀𝑀𝑏𝑏𝑠𝑠𝑟𝑟 (%) (10% 𝑖𝑖𝑠𝑠 "10", not "0.10")

- Size of perforated drain tile:

- Depth of tile from surface of the pavement:

- How many inches is the tile above the bottom of the rock base:

- Describe the outlet for the perforated drain tile:

- Describe overflow (i.e. what provisions are provided should the system plug – where would water flow, how would it be conveyed):

- Describe Erosion and Sediment Control measures used to protect permeable pavement if active construction will be taking place in the drainage area after installation:

- Please attach a map of the drainage area

- Please attach a plan view, profile and cross sectional drawing

FOR REVIEWERS USE ONLY

Design appears to comply with the standards in the Iowa Stormwater Management Manual.

Design does not appear to comply with the standards in the Iowa Stormwater Management Manual.

Comments:

Name of Reviewer: 	 Date: 	  Signature: