Design Review Check List for Stormwater Wetlands

Applicant: ____________________________________	Date: _________________________________

Submitted By: ________________________________	Project Location: ________________________

Stormwater Wetland Site Information

- Drainage Area  (DA)_______SF      ______AC

- Space Required (Approx. 3-5% of DA) _________ SF                  AC

- DA Slope _________%

- Inflow Elevation ____________

- Outlet Elevation ___________

- Depth to water table ________FT

- Provide wetland delineation of existing site if available.

  - Are existing wetlands present at the site?  ____

- List all applicable permits, such as local floodplain development permit or Joint Application.

- Discuss soils investigation findings (i.e. soil type, hydrologic group, texture, structure, depth to water table, etc).  Provide copy of soils investigation report.

- Are soils and water table suitable for a constructed stormwater wetland? _____Yes __X___No

  - If no, describe measures used to account for non-suitable soils.

- Setbacks

  - From Property Line _____________FT

  - From Private Well _________FT

  - From Septic System Tank/Leach Field _________FT

  - Utilities _________FT

- Buffer Width _________FT

- Water Balance (See Iowa Stormwater Management Manual Section 2C-13 Water Balance Calculations) ______________AC-FT

- Wetland/Watershed Ratio ___________

- Stormwater Flow Path Length to Width Ratio (1:1 min)__________

- Dry Weather Flow Path Length to Width Ratio (2:1 min)_________

- What type of stormwater wetland is designed? ______Shallow Marsh ____ Pond/Wetland ______Extended Detention Wetland _____Pocket Wetland _____Other

- Is a safety and aquatic bench provided? _____ Yes _____No

  - If yes, describe (width, depth, etc.)

- Provide inlet sediment forebay calculations.

  - Describe forebay details (depth, volume provided, etc.)

  - If no forebay is provided, describe why not or if other pretreatment measures are used.

- Submit detailed calculations and design forms based on the Iowa Stormwater Management Manual.

  - WQv _____acre-ft

  - Cpv ______________acre-ft

  - Pre-treatment Volume ________acre-ft

  - Qp ______________CFS

  - Qf ______________CFS

- Describe inlet structure (pipe size, elevation, etc.)

- Describe wetland volumes (allocation of pool, marsh, and extended detention volumes; allocation of surface area; total storage; etc.)

- Describe the outlet structure (release rates, riser, weir, average head, area of orifice, orifice elevations, emergency spillway, etc.)

- Describe the outlet protection (length, width, rock size, etc.)

- Does the proposed vegetation meet SUDAS Specifications Manual Section 9010? ______Yes _____No

- Have calculations, design report, plans and specifications been submitted? ______Yes _____No

- Has O&M plan been submitted? ______Yes _____No

FOR REVIEWERS USE ONLY

Design appears to comply with the standards in the Iowa Stormwater Management Manual.

Design does not appear to comply with the standards in the Iowa Stormwater Management Manual.

Comments: _____________________________________________________________________________

_______________________________________________________________________________________

_______________________________________________________________________________________________

Name of Reviewer: __________________________________________	Date: ___________________________

Signature: ______________________________________________________________________________________